## Sheet1
中文 | 外罗 | 沙扒 | 南鹏岛 | 金湾
风机编号 | 风机编号 | 风机编号 | 风机编号 | 风机编号
时间 | 时间 | 时间 | 时间 | 时间
机组运行模式 | giWindTurbineOperationMode | giWindTurbineOperationMode | giWindTurbineOperationMode | giWindTurbineOperationMode
变频器主机igbt温度 | grConverter1IGBTTemperature | grConverter1IGBTTemperature | grConverter1IGBTTemperature | grConverter1IGBTTemperature
变频器从机igbt温度 | grConverter2IGBTTemperature | grConverter2IGBTTemperature | grConverter2IGBTTemperature | grConverter2IGBTTemperature
变流器发电机转速 | grConverterGeneratorSpeed | grConverterGeneratorSpeed | grConverterGeneratorSpeed | grConverterGeneratorSpeed
变频器主机冷却液温度 | grConverter1CoolantInletTemperature | grConverter1CoolantInletTemperature | grConverter1CoolantInletTemperature | grConverter1CoolantInletTemperature
变频器主机风扇运行1 | gbConverter1CoolantFan1On | gbConverter1CoolantFan1On | gbConverter1CoolantFan1On | gbConverter1CoolantFan1On
变频器主机水泵运行 | gbConverter1CoolantPumpOn | gbConverter1CoolantPumpOn | gbConverter1CoolantPumpOn | gbConverter1CoolantPumpOn
变频器从机冷却液温度 | grConverter2CoolantInletTemperature | grConverter2CoolantInletTemperature | grConverter2CoolantInletTemperature | grConverter2CoolantInletTemperature
变频器从机风扇运行1 | gbConverter2CoolantFan1On | gbConverter2CoolantFan1On | gbConverter2CoolantFan1On | gbConverter2CoolantFan1On
变频器从机水泵运行 | gbConverter2CoolantPumpOn | gbConverter2CoolantPumpOn | gbConverter2CoolantPumpOn | gbConverter2CoolantPumpOn
变频器主机冷却液压力 | grConverter1CoolantInletPressure | grConverter1CoolantInletPressure | grConverter1CoolantInletPressure | grConverter1CoolantInletPressure
变频器从机冷却液压力 | grConverter2CoolantInletPressure | grConverter2CoolantInletPressure | grConverter2CoolantInletPressure | grConverter2CoolantInletPressure
齿轮箱主轴承温度 | grGearboxMainBearingTemperature | grGearboxMainBearingTemperature | grGearboxMainBearingTemperature | grGearboxMainBearingTemperature
齿轮箱轮毂侧轴承温度 | grGearboxHubSideBearingTemperature | grGearboxHubSideBearingTemperature | grGearboxHubSideBearingTemperature | grGearboxHubSideBearingTemperature
齿轮箱发电机侧轴承温度 | grGearboxGeneratorSideBearingTemperature | grGearboxGeneratorSideBearingTemperature | grGearboxGeneratorSideBearingTemperature | grGearboxGeneratorSideBearingTemperature
齿轮箱油温 | grGearboxOilTemperture | grGearboxOilTemperture | grGearboxOilTemperture | grGearboxOilTemperture
齿轮箱离线过滤泵处油温 | grGearboxBypassPumpOilTemperature | #N/A | #N/A | #N/A
齿轮箱主泵处油温 | grGearboxMainPumpOilTemperature | #N/A | #N/A | #N/A
润滑油冷却器入口油温 | grGearboxOilCoolerInletTemperature | grGearboxOilCoolerInletTemperature | grGearboxOilCoolerInletTemperature | grGearboxOilCoolerInletTemperature
润滑油冷却器出口油温 | grGearboxOilCoolerOutletTemperature | grGearboxOilCoolerOutletTemperature | grGearboxOilCoolerOutletTemperature | grGearboxOilCoolerOutletTemperature
齿轮箱水泵出口温度 | grGearboxWaterPumpOutletTemperature | grGearboxWaterPumpOutletTemperature | grGearboxWaterPumpOutletTemperature | grGearboxWaterPumpOutletTemperature
齿轮箱水泵入口温度1 | grGearboxWaterPumpInletTemperature1 | grGearboxWaterPumpInletTemperature1 | grGearboxWaterPumpInletTemperature1 | grGearboxWaterPumpInletTemperature1
齿轮箱水泵入口温度2 | grGearboxWaterPumpInletTemperature2 | grGearboxWaterPumpInletTemperature2 | grGearboxWaterPumpInletTemperature2 | grGearboxWaterPumpInletTemperature2
齿轮箱A1口温度 | grGearboxOilTempertureA1 | grGearboxOilTempertureA1 | grGearboxOilTempertureA1 | grGearboxOilTempertureA1
齿轮箱A2口温度 | grGearboxOilTempertureA2 | grGearboxOilTempertureA2 | grGearboxOilTempertureA2 | grGearboxOilTempertureA2
齿轮箱A3口温度 | grGearboxOilTempertureA3 | grGearboxOilTempertureA3 | grGearboxOilTempertureA3 | grGearboxOilTempertureA3
齿轮箱A4口温度 | grGearboxOilTempertureA4 | grGearboxOilTempertureA4 | grGearboxOilTempertureA4 | grGearboxOilTempertureA4
齿轮箱主泵1_1高速 | gbGearboxMainPump1_1HighSpeedOn | gbGearboxMainPump1_1HighSpeedOn | gbGearboxMainPump1_1HighSpeedOn | gbGearboxMainPump1_1HighSpeedOn
齿轮箱主泵1_2高速 | gbGearboxMainPump1_2HighSpeedOn | gbGearboxMainPump1_2HighSpeedOn | gbGearboxMainPump1_2HighSpeedOn | gbGearboxMainPump1_2HighSpeedOn
齿轮箱主泵1_1低速 | gbGearboxMainPump1_1LowSpeedOn | gbGearboxMainPump1_1LowSpeedOn | gbGearboxMainPump1_1LowSpeedOn | gbGearboxMainPump1_1LowSpeedOn
齿轮箱主泵1_2低速 | gbGearboxMainPump1_2LowSpeedOn | gbGearboxMainPump1_2LowSpeedOn | gbGearboxMainPump1_2LowSpeedOn | gbGearboxMainPump1_2LowSpeedOn
齿轮箱A1口压力 | grGearboxOilPressureA1 | grGearboxOilPressureA1 | grGearboxOilPressureA1 | grGearboxOilPressureA1
齿轮箱A2口压力 | grGearboxOilPressureA2 | grGearboxOilPressureA2 | grGearboxOilPressureA2 | grGearboxOilPressureA2
齿轮箱A3口压力 | grGearboxOilPressureA3 | grGearboxOilPressureA3 | grGearboxOilPressureA3 | grGearboxOilPressureA3
齿轮箱A4口压力 | grGearboxOilpressureA4 | grGearboxOilpressureA4 | grGearboxOilpressureA4 | grGearboxOilpressureA4
齿轮箱主泵2_1高速 | gbGearboxMainPump2_1HighSpeedOn | gbGearboxMainPump2_1HighSpeedOn | gbGearboxMainPump2_1HighSpeedOn | gbGearboxMainPump2_1HighSpeedOn
齿轮箱主泵2_2高速 | gbGearboxMainPump2_2HighSpeedOn | gbGearboxMainPump2_2HighSpeedOn | gbGearboxMainPump2_2HighSpeedOn | gbGearboxMainPump2_2HighSpeedOn
齿轮箱主泵2_1低速 | gbGearboxMainPump2_1LowSpeedOn | gbGearboxMainPump2_1LowSpeedOn | gbGearboxMainPump2_1LowSpeedOn | gbGearboxMainPump2_1LowSpeedOn
齿轮箱主泵2_2低速 | gbGearboxMainPump2_2LowSpeedOn | gbGearboxMainPump2_2LowSpeedOn | gbGearboxMainPump2_2LowSpeedOn | gbGearboxMainPump2_2LowSpeedOn
齿轮箱主泵1_1出口压力 | grGearboxMainPump1_1OilOutletPressure | grGearboxMainPump1_1OilOutletPressure | grGearboxMainPump1_1OilOutletPressure | grGearboxMainPump1_1OilOutletPressure
齿轮箱主泵1_2出口压力 | grGearboxMainPump1_2OilOutletPressure | grGearboxMainPump1_2OilOutletPressure | grGearboxMainPump1_2OilOutletPressure | grGearboxMainPump1_2OilOutletPressure
齿轮箱主泵2_1出口压力 | grGearboxMainPump2_1OilOutletPressure | grGearboxMainPump2_1OilOutletPressure | grGearboxMainPump2_1OilOutletPressure | grGearboxMainPump2_1OilOutletPressure
齿轮箱主泵2_2出口压力 | grGearboxMainPump2_2OilOutletPressure | grGearboxMainPump2_2OilOutletPressure | grGearboxMainPump2_2OilOutletPressure | grGearboxMainPump2_2OilOutletPressure
齿轮箱冷却泵 | gbGearboxCoolingPumpOn | gbGearboxOilCoolingPumpOn | gbGearboxOilCoolingPumpOn | gbGearboxOilCoolingPumpOn
齿轮箱冷却泵出口压力 | grGearboxCoolingPumpOilOutletPressure | grGearboxOilCoolingPumpOilOutletPressure | grGearboxOilCoolingPumpOilOutletPressure | grGearboxOilCoolingPumpOilOutletPressure
齿轮箱过滤泵 | gbGearboxBypassPumpOn | gbGearboxBypassPumpOn | gbGearboxBypassPumpOn | gbGearboxBypassPumpOn
齿轮箱过滤泵出口压力 | grGearboxBypassPumpOilOutletPressure | grGearboxBypassPumpOilOutletPressure | grGearboxBypassPumpOilOutletPressure | grGearboxBypassPumpOilOutletPressure
齿轮箱油位 | grGearboxOilLevel | grGearboxOilLevel | grGearboxOilLevel | grGearboxOilLevel
齿轮箱水泵1启动 | gbGearboxWaterPumpOn1 | gbGearboxWaterPumpOn1 | gbGearboxWaterPumpOn1 | gbGearboxWaterPumpOn1
齿轮箱水泵2启动 | gbGearboxWaterPumpOn2 | gbGearboxWaterPumpOn2 | gbGearboxWaterPumpOn2 | gbGearboxWaterPumpOn2
齿轮箱水冷风扇1高速启动 | gbGearboxWaterFan1HighSpeedOn | gbGearboxWaterFan1HighSpeedOn | gbGearboxWaterFan1HighSpeedOn | gbGearboxWaterFan1HighSpeedOn
齿轮箱水冷风扇2高速启动 | gbGearboxWaterFan2HighSpeedOn | gbGearboxWaterFan2HighSpeedOn | gbGearboxWaterFan2HighSpeedOn | gbGearboxWaterFan2HighSpeedOn
齿轮箱水泵1出口压力 | grGearboxWaterPumpOutletPressure1 | grGearboxWaterPumpOutletPressure1 | grGearboxWaterPumpOutletPressure1 | grGearboxWaterPumpOutletPressure1
齿轮箱水泵2出口压力 | grGearboxWaterPumpOutletPressure2 | grGearboxWaterPumpOutletPressure2 | grGearboxWaterPumpOutletPressure2 | grGearboxWaterPumpOutletPressure2
齿轮箱水泵1入口压力 | grGearboxWaterPumpInletPressure1 | grGearboxWaterPumpInletPressure1 | grGearboxWaterPumpInletPressure1 | grGearboxWaterPumpInletPressure1
齿轮箱水泵2入口压力 | grGearboxWaterPumpInletPressure2 | grGearboxWaterPumpInletPressure2 | grGearboxWaterPumpInletPressure2 | grGearboxWaterPumpInletPressure2
发电机绕组温度1 | grGeneratorWindingTemperature1 | grGeneratorWindingTemperature1 | grGeneratorWindingTemperature1 | grGeneratorWindingTemperature1
发电机绕组温度2 | grGeneratorWindingTemperature2 | grGeneratorWindingTemperature2 | grGeneratorWindingTemperature2 | grGeneratorWindingTemperature2
发电机绕组温度3 | grGeneratorWindingTemperature3 | grGeneratorWindingTemperature3 | grGeneratorWindingTemperature3 | grGeneratorWindingTemperature3
发电机绕组温度4 | grGeneratorWindingTemperature4 | grGeneratorWindingTemperature4 | grGeneratorWindingTemperature4 | grGeneratorWindingTemperature4
发电机绕组温度5 | grGeneratorWindingTemperature5 | grGeneratorWindingTemperature5 | grGeneratorWindingTemperature5 | grGeneratorWindingTemperature5
发电机绕组温度6 | grGeneratorWindingTemperature6 | grGeneratorWindingTemperature6 | grGeneratorWindingTemperature6 | grGeneratorWindingTemperature6
发电机齿轮箱侧轴承温度 | grGeneratorGearboxSideBearingTemperature | grGeneratorGearboxSideBearingTemperature | grGeneratorGearboxSideBearingTemperature | grGeneratorGearboxSideBearingTemperature
发电机机舱侧轴承温度 | grGeneratorNacelleSideBearingTemperature | grGeneratorNacelleSideBearingTemperature | grGeneratorNacelleSideBearingTemperature | grGeneratorNacelleSideBearingTemperature
变流器功率 | grCoverterPower | grCoverterPower | grCoverterPower | grCoverterPower
发电机空空冷内循环入口温度1 | grGeneratorInsideRecycleWindInletTemperature1 | grGeneratorInsideRecycleWindInletTemperature1 | grGeneratorInsideRecycleWindInletTemperature1 | grGeneratorInsideRecycleWindInletTemperature1
发电机空空冷内循环入口温度2 | grGeneratorInsideRecycleWindInletTemperature2 | grGeneratorInsideRecycleWindInletTemperature2 | grGeneratorInsideRecycleWindInletTemperature2 | grGeneratorInsideRecycleWindInletTemperature2
发电机空空冷内循环出口温度1 | grGeneratorInsideRecycleWindOutletTemperature1 | grGeneratorInsideRecycleWindOutletTemperature1 | grGeneratorInsideRecycleWindOutletTemperature1 | grGeneratorInsideRecycleWindOutletTemperature1
发电机空空冷内循环出口温度2 | grGeneratorInsideRecycleWindOutletTemperature2 | grGeneratorInsideRecycleWindOutletTemperature2 | grGeneratorInsideRecycleWindOutletTemperature2 | grGeneratorInsideRecycleWindOutletTemperature2
发电机空空冷外循环入口温度1 | grGeneratorOutsideRecycleWindInletTemperature1 | grGeneratorOutsideRecycleWindInletTemperature1 | grGeneratorOutsideRecycleWindInletTemperature1 | grGeneratorOutsideRecycleWindInletTemperature1
发电机空空冷外循环入口温度2 | grGeneratorOutsideRecycleWindInletTemperature2 | grGeneratorOutsideRecycleWindInletTemperature2 | grGeneratorOutsideRecycleWindInletTemperature2 | grGeneratorOutsideRecycleWindInletTemperature2
发电机空空冷外循环出口温度1 | grGeneratorOutsideRecycleWindOutletTemperature1 | grGeneratorOutsideRecycleWindOutletTemperature1 | grGeneratorOutsideRecycleWindOutletTemperature1 | grGeneratorOutsideRecycleWindOutletTemperature1
发电机空空冷外循环出口温度2 | grGeneratorOutsideRecycleWindOutletTemperature2 | grGeneratorOutsideRecycleWindOutletTemperature2 | grGeneratorOutsideRecycleWindOutletTemperature2 | grGeneratorOutsideRecycleWindOutletTemperature2
液压系统压力 | grHydraulicSystemPressure | grHydraulicSystemPressure | grHydraulicSystemPressure | grHydraulicSystemPressure
液压泵1开 | gbHydraulicPumpOn1 | gbHydraulicPumpOn1 | gbHydraulicPumpOn1 | gbHydraulicPumpOn1
液压泵2开 | gbHydraulicPumpOn2 | gbHydraulicPumpOn2 | gbHydraulicPumpOn2 | gbHydraulicPumpOn2
顺时针偏航 | gbYawCW | gbYawCW | gbYawCW | gbYawCW
逆时针偏航 | gbYawCCW | gbYawCCW | gbYawCCW | gbYawCCW
偏航制动出口压力1 | grHydraulicYawBrakeOutletOilPressure1 | grHydraulicYawBrakeOutletOilPressure1 | grHydraulicYawBrakeOutletOilPressure1 | grHydraulicYawBrakeOutletOilPressure1
偏航制动出口压力2 | grHydraulicYawBrakeOutletOilPressure2 | grHydraulicYawBrakeOutletOilPressure2 | grHydraulicYawBrakeOutletOilPressure2 | grHydraulicYawBrakeOutletOilPressure2
偏航制动入口压力1 | grHydraulicYawBrakeInletOilPressure1 | grHydraulicYawBrakeInletOilPressure1 | grHydraulicYawBrakeInletOilPressure1 | grHydraulicYawBrakeInletOilPressure1
偏航制动入口压力2 | grHydraulicYawBrakeInletOilPressure2 | grHydraulicYawBrakeInletOilPressure2 | grHydraulicYawBrakeInletOilPressure2 | grHydraulicYawBrakeInletOilPressure2
偏航半释放阀 | gbYawBrakeOpenHalfCommand | gbYawBrakeOpenHalfCommand1和gbYawBrakeOpenHalfCommand2 | gbYawBrakeOpenHalfCommand1和gbYawBrakeOpenHalfCommand2 | gbYawBrakeOpenHalfCommand1和gbYawBrakeOpenHalfCommand2
液压主泵处油温 | grHydraulicMainPumpOilTemperature | #N/A | #N/A | #N/A
液压泵出口压力 | grHydraulicPumpOutletPressure | grHydraulicPumpOutletPressure | grHydraulicPumpOutletPressure | grHydraulicPumpOutletPressure
液压回油口油温 | grHydraulicReturnOilTemperature | #N/A | #N/A | #N/A
叶轮锁定压力1 | grHydraulicRotorLockPressure1 | grHydraulicRotorLockPressure1 | grHydraulicRotorLockPressure1 | grHydraulicRotorLockPressure1
叶轮锁定压力2 | grHydraulicRotorLockPressure2 | grHydraulicRotorLockPressure2 | grHydraulicRotorLockPressure2 | grHydraulicRotorLockPressure2
叶轮锁蓄能器压力1 | grHydraulicRotorLockActivedAccumulatorPressure1 | grHydraulicRotorLockActivedAccumulatorPressure1 | grHydraulicRotorLockActivedAccumulatorPressure1 | grHydraulicRotorLockActivedAccumulatorPressure1
叶轮锁蓄能器压力2 | grHydraulicRotorLockActivedAccumulatorPressure2 | grHydraulicRotorLockActivedAccumulatorPressure2 | grHydraulicRotorLockActivedAccumulatorPressure2 | grHydraulicRotorLockActivedAccumulatorPressure2
变桨驱动柜温度1 | grPitchDriverCabinetTemperture1 | grPitchDriverCabinetTemperture1 | grPitchDriverCabinetTemperture1 | grPitchDriverCabinetTemperture1
变桨驱动柜温度2 | grPitchDriverCabinetTemperture2 | grPitchDriverCabinetTemperture2 | grPitchDriverCabinetTemperture2 | grPitchDriverCabinetTemperture2
变桨驱动柜温度3 | grPitchDriverCabinetTemperture3 | grPitchDriverCabinetTemperture3 | grPitchDriverCabinetTemperture3 | grPitchDriverCabinetTemperture3
桨叶角度1A | grPitchAngle1A | grPitchAngle1A | grPitchAngle1A | grPitchAngle1A
桨叶角度2A | grPitchAngle2A | grPitchAngle2A | grPitchAngle2A | grPitchAngle2A
桨叶角度3A | grPitchAngle3A | grPitchAngle3A | grPitchAngle3A | grPitchAngle3A
桨叶角度1B | grPitchAngle1B | grPitchAngle1B | grPitchAngle1B | grPitchAngle1B
桨叶角度2B | grPitchAngle2B | grPitchAngle2B | grPitchAngle2B | grPitchAngle2B
桨叶角度3B | grPitchAngle3B | grPitchAngle3B | grPitchAngle3B | grPitchAngle3B
叶轮速度1 | grRotorSpeed1 | grRotorSpeed1 | grRotorSpeed1 | grRotorSpeed1
叶轮速度2 | grRotorSpeed2 | grRotorSpeed2 | grRotorSpeed2 | grRotorSpeed2
风速 | grWindSpeed | grWindSpeed | grWindSpeed | grWindSpeed
变桨电机温度1 | grPitchMotorTemperture1 | grPitchMotorTemperture1 | grPitchMotorTemperture1 | grPitchMotorTemperture1
变桨电机温度2 | grPitchMotorTemperture2 | grPitchMotorTemperture2 | grPitchMotorTemperture2 | grPitchMotorTemperture2
变桨电机温度3 | grPitchMotorTemperture3 | grPitchMotorTemperture3 | grPitchMotorTemperture3 | grPitchMotorTemperture3
变桨驱动柜散热器温度1 | grPitchDriverRatiatorTemperature1 | grPitchDriverRatiatorTemperature1 | grPitchDriverRatiatorTemperature1 | grPitchDriverRatiatorTemperature1
变桨驱动柜散热器温度2 | grPitchDriverRatiatorTemperature2 | grPitchDriverRatiatorTemperature2 | grPitchDriverRatiatorTemperature2 | grPitchDriverRatiatorTemperature2
变桨驱动柜散热器温度3 | grPitchDriverRatiatorTemperature3 | grPitchDriverRatiatorTemperature3 | grPitchDriverRatiatorTemperature3 | grPitchDriverRatiatorTemperature3
变桨后备电源柜温度1 | grPitchBackupPowerCabinetTemperture1 | grPitchBackupPowerCabinetTemperture1 | grPitchBackupPowerCabinetTemperture1 | grPitchBackupPowerCabinetTemperture1
变桨后备电源柜温度2 | grPitchBackupPowerCabinetTemperture2 | grPitchBackupPowerCabinetTemperture2 | grPitchBackupPowerCabinetTemperture2 | grPitchBackupPowerCabinetTemperture2
变桨后备电源柜温度3 | grPitchBackupPowerCabinetTemperture3 | grPitchBackupPowerCabinetTemperture3 | grPitchBackupPowerCabinetTemperture3 | grPitchBackupPowerCabinetTemperture3
箱式变压器温度 | grTransformerTemperture | grTransformerTemperture | grTransformerTemperture | grTransformerTemperture
塔筒第一层平台温度 | grTowerFirstFloorTemperature | grTowerFirstFloorTemperature | grTowerFirstFloorTemperature | grTowerFirstFloorTemperature
塔基柜温度 | grTowerBaseCabinetTemperture | grTowerBaseCabinetTemperture | grTowerBaseCabinetTemperture | grTowerBaseCabinetTemperture
机舱高压柜温度 | grNacelleCabinetHighVoltageTemperature | grNacelleCabinetHighVoltageTemperature | grNacelleCabinetHighVoltageTemperature | grNacelleCabinetHighVoltageTemperature
机舱温度 | grNacelleTemperture | grNacelleTemperture | grNacelleTemperture | grNacelleTemperture
机舱低压柜温度 | grNacelleCabinetLowVoltageTemperature | grNacelleCabinetLowVoltageTemperature | grNacelleCabinetLowVoltageTemperature | grNacelleCabinetLowVoltageTemperature
变频器温度1 | grConverterTemperature1 | grConverterTemperature1 | grConverterTemperature1 | grConverterTemperature1
变频器温度2 | grConverterTemperature2 | grConverterTemperature2 | grConverterTemperature2 | grConverterTemperature2
变频器温度3 | grConverterTemperature3 | grConverterTemperature3 | grConverterTemperature3 | grConverterTemperature3
变频器温度4 | grConverterTemperature4 | grConverterTemperature4 | grConverterTemperature4 | grConverterTemperature4
变频器温度5 | grConverterTemperature5 | grConverterTemperature5 | grConverterTemperature5 | grConverterTemperature5
变频器温度6 | grConverterTemperature6 | grConverterTemperature6 | grConverterTemperature6 | grConverterTemperature6
变频器温度7 | grConverterTemperature7 | grConverterTemperature7 | grConverterTemperature7 | grConverterTemperature7
变频器温度8 | grConverterTemperature8 | grConverterTemperature8 | grConverterTemperature8 | grConverterTemperature8
变频器温度9 | grConverterTemperature9 | grConverterTemperature9 | grConverterTemperature9 | grConverterTemperature9
变频器温度10 | grConverterTemperature10 | grConverterTemperature10 | grConverterTemperature10 | grConverterTemperature10
变频器温度11 | grConverterTemperature11 | grConverterTemperature11 | grConverterTemperature11 | grConverterTemperature11
变频器温度12 | grConverterTemperature12 | grConverterTemperature12 | grConverterTemperature12 | grConverterTemperature12
变频器温度13 | grConverterTemperature13 | grConverterTemperature13 | grConverterTemperature13 | grConverterTemperature13
变频器温度14 | grConverterTemperature14 | grConverterTemperature14 | grConverterTemperature14 | grConverterTemperature14
变频器温度15 | grConverterTemperature15 | grConverterTemperature15 | grConverterTemperature15 | grConverterTemperature15
变频器温度16 | grConverterTemperature16 | grConverterTemperature16 | grConverterTemperature16 | grConverterTemperature16
变频器温度17 | grConverterTemperature17 | grConverterTemperature17 | grConverterTemperature17 | grConverterTemperature17
Note on C20: 作者: 找不到该标签点
Note on D20: 作者: 找不到该标签点
Note on C47: 作者: 新增齿轮箱标签点
Note on D47: 作者: 新增齿轮箱标签点
Note on E47: 作者: 新增齿轮箱标签点
Note on C48: 作者: 新增齿轮箱标签点
Note on C86: 作者: 新增液压系统标签点
Note on D86: 作者: 新增液压系统标签点
Note on E86: 作者: 新增液压系统标签点
Note on C87: 作者: 目前在液压处只找到：grHydraulicOilTemperature
Note on D87: 作者: 目前在液压处只找到：grHydraulicOilTemperature